XXXX Nuclear Cardiology Facility

Adenosine Stress Test Procedure

Rationale: Adenosine is a direct coronary arterial vasodilator and results in a 3.5 to 4 fold increase in myocardial blood flow.  Myocardial regions supplied by diseased coronary arteries have an attenuated hyperemic response.  Depending upon the severity of coronary stenosis and coronary flow reserve limitation, relative flow heterogeneity is induced.  In patients with severe CAD, true ischemia may also be induced because of a coronary steal phenomenon.  Since the myocardial tracer uptake is proportional to the regional myocardial blood flow, an unequal distribution of radiotracer occurs in the myocardium.  Adenosine results in a modest increase in heart rate and a modest decrease in both systolic and diastolic blood pressures.

Indications: See exercise stress test procedure and:

- Inability to perform adequate exercise due to any extracardiac factors (pulmonary, peripheral vascular, musculoskeletal conditions)

- Left bundle branch block, ventricular pre-excitation (Wolff-Parkinson-White syndrome), and permanent ventricular pacing. Falsely positive imaging results are much less frequent with adenosine (approximately 10%) as compared to stress imaging with exercise (approximately 50%).

- Risk stratification of clinically stable patients into low and high-risk groups very early after acute myocardial infarction (C1 day) or following presentation to the emergency department with a presumptive acute coronary syndrome

- Concomitant treatment with medications which blunt the heart rate response (beta blockers, calcium channel blockers)

Contraindications and Precautions:

- Asthmatic patients with ongoing wheezing should not undergo adenosine stress testing.  However, patients with adequately controlled asthma can undergo adenosine stress test.

- Know or suspected bronchoconstrictive or bronchospastic lung disease (ARDS, emphysema)

- Hypersensitivity to adenosine

- Greater than first degree heart block without a pacemaker or sick sinus syndrome.

- Systolic blood pressure less than 90 mm Hg.

- Recent myocardial infarction

- Congestive heart failure

- Use of dipyridamole in the last 24 hours or use of xanthines (aminophylline or caffeine) in the last 12 hours.

- Severe sinus bradycardia (heart rate <40 bpm)

Adenosine Dose (See chart on next page):

- Adenosine is given as a continuous infusion at a rate of 140 ug/kg/min over a 4 minute period.  Maximum dose 60 mg.

- Radiotracer infusion between 2 minutes after the start of the adenosine infusion

- Adenosine dose is given under the direction of the stress test physician.

| Adenoscan Dosing Chart (4 minute infusion) |
| --- |
| Wt (lbs) | KG | CC | mg |  | Wt (lbs) | KG | CC | mg |  | Wt (lbs) | KG | CC | mg |  | Wt (lbs) | KG | CC | mg |
| 75 | 34.1 | 6.4 | 19.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 76 | 34.5 | 6.4 | 19.3 |  | 116 | 52.7 | 9.8 | 29.5 |  | 156 | 70.9 | 13.2 | 39.7 |  | 196 | 89.1 | 16.6 | 49.9 |
| 77 | 35.0 | 6.5 | 19.6 |  | 117 | 53.2 | 9.9 | 29.8 |  | 157 | 71.4 | 13.3 | 40.0 |  | 197 | 89.5 | 16.7 | 50.1 |
| 78 | 35.5 | 6.6 | 19.9 |  | 118 | 53.6 | 10.0 | 30.0 |  | 158 | 71.8 | 13.4 | 40.2 |  | 198 | 90.0 | 16.8 | 50.4 |
| 79 | 35.9 | 6.7 | 20.1 |  | 119 | 54.1 | 10.1 | 30.3 |  | 159 | 72.3 | 13.5 | 40.5 |  | 199 | 90.5 | 16.9 | 50.7 |
| 80 | 36.4 | 6.8 | 20.4 |  | 120 | 54.5 | 10.2 | 30.5 |  | 160 | 72.7 | 13.6 | 40.7 |  | 200 | 90.9 | 17.0 | 50.9 |
| 81 | 36.8 | 6.9 | 20.6 |  | 121 | 55.0 | 10.3 | 30.8 |  | 161 | 73.2 | 13.7 | 41.0 |  | 201 | 91.4 | 17.1 | 51.2 |
| 82 | 37.3 | 7.0 | 20.9 |  | 122 | 55.5 | 10.4 | 31.1 |  | 162 | 73.6 | 13.7 | 41.2 |  | 202 | 91.8 | 17.1 | 51.4 |
| 83 | 37.7 | 7.0 | 21.1 |  | 123 | 55.9 | 10.4 | 31.3 |  | 163 | 74.1 | 13.8 | 41.5 |  | 203 | 92.3 | 17.2 | 51.7 |
| 84 | 38.2 | 7.1 | 21.4 |  | 124 | 56.4 | 10.5 | 31.6 |  | 164 | 74.5 | 13.9 | 41.7 |  | 204 | 92.7 | 17.3 | 51.9 |
| 85 | 38.6 | 7.2 | 21.6 |  | 125 | 56.8 | 10.6 | 31.8 |  | 165 | 75.0 | 14.0 | 42.0 |  | 205 | 93.2 | 17.4 | 52.2 |
| 86 | 39.1 | 7.3 | 21.9 |  | 126 | 57.3 | 10.7 | 32.1 |  | 166 | 75.5 | 14.1 | 42.3 |  | 206 | 93.6 | 17.5 | 52.4 |
| 87 | 39.5 | 7.4 | 22.1 |  | 127 | 57.7 | 10.8 | 32.3 |  | 167 | 75.9 | 14.2 | 42.5 |  | 207 | 94.1 | 17.6 | 52.7 |
| 88 | 40.0 | 7.5 | 22.4 |  | 128 | 58.2 | 10.9 | 32.6 |  | 168 | 76.4 | 14.3 | 42.8 |  | 208 | 94.5 | 17.6 | 52.9 |
| 89 | 40.5 | 7.6 | 22.7 |  | 129 | 58.6 | 10.9 | 32.8 |  | 169 | 76.8 | 14.3 | 43.0 |  | 209 | 95.0 | 17.7 | 53.2 |
| 90 | 40.9 | 7.6 | 22.9 |  | 130 | 59.1 | 11.0 | 33.1 |  | 170 | 77.3 | 14.4 | 43.3 |  | 210 | 95.5 | 17.8 | 53.5 |
| 91 | 41.4 | 7.7 | 23.2 |  | 131 | 59.5 | 11.1 | 33.3 |  | 171 | 77.7 | 14.5 | 43.5 |  | 211 | 95.9 | 17.9 | 53.7 |
| 92 | 41.8 | 7.8 | 23.4 |  | 132 | 60.0 | 11.2 | 33.6 |  | 172 | 78.2 | 14.6 | 43.8 |  | 212 | 96.4 | 18.0 | 54.0 |
| 93 | 42.3 | 7.9 | 23.7 |  | 133 | 60.5 | 11.3 | 33.9 |  | 173 | 78.6 | 14.7 | 44.0 |  | 213 | 96.8 | 18.1 | 54.2 |
| 94 | 42.7 | 8.0 | 23.9 |  | 134 | 60.9 | 11.4 | 34.1 |  | 174 | 79.1 | 14.8 | 44.3 |  | 214 | 97.3 | 18.2 | 54.5 |
| 95 | 43.2 | 8.1 | 24.2 |  | 135 | 61.4 | 11.5 | 34.4 |  | 175 | 79.5 | 14.8 | 44.5 |  | 215 | 97.7 | 18.2 | 54.7 |
| 96 | 43.6 | 8.1 | 24.4 |  | 136 | 61.8 | 11.5 | 34.6 |  | 176 | 80.0 | 14.9 | 44.8 |  | 216 | 98.2 | 18.3 | 55.0 |
| 97 | 44.1 | 8.2 | 24.7 |  | 137 | 62.3 | 11.6 | 34.9 |  | 177 | 80.5 | 15.0 | 45.1 |  | 217 | 98.6 | 18.4 | 55.2 |
| 98 | 44.5 | 8.3 | 24.9 |  | 138 | 62.7 | 11.7 | 35.1 |  | 178 | 80.9 | 15.1 | 45.3 |  | 218 | 99.1 | 18.5 | 55.5 |
| 99 | 45.0 | 8.4 | 25.2 |  | 139 | 63.2 | 11.8 | 35.4 |  | 179 | 81.4 | 15.2 | 45.6 |  | 219 | 99.5 | 18.6 | 55.7 |
| 100 | 45.5 | 8.5 | 25.5 |  | 140 | 63.6 | 11.9 | 35.6 |  | 180 | 81.8 | 15.3 | 45.8 |  | 220 | 100.0 | 18.7 | 56.0 |
| 101 | 45.9 | 8.6 | 25.7 |  | 141 | 64.1 | 12.0 | 35.9 |  | 181 | 82.3 | 15.4 | 46.1 |  | 221 | 100.5 | 18.8 | 56.3 |
| 102 | 46.4 | 8.7 | 26.0 |  | 142 | 64.5 | 12.0 | 36.1 |  | 182 | 82.7 | 15.4 | 46.3 |  | 222 | 100.9 | 18.8 | 56.5 |
| 103 | 46.8 | 8.7 | 26.2 |  | 143 | 65.0 | 12.1 | 36.4 |  | 183 | 83.2 | 15.5 | 46.6 |  | 223 | 101.4 | 18.9 | 56.8 |
| 104 | 47.3 | 8.8 | 26.5 |  | 144 | 65.5 | 12.2 | 36.7 |  | 184 | 83.6 | 15.6 | 46.8 |  | 224 | 101.8 | 19.0 | 57.0 |
| 105 | 47.7 | 8.9 | 26.7 |  | 145 | 65.9 | 12.3 | 36.9 |  | 185 | 84.1 | 15.7 | 47.1 |  | 225 | 102.3 | 19.1 | 57.3 |
| 106 | 48.2 | 9.0 | 27.0 |  | 146 | 66.4 | 12.4 | 37.2 |  | 186 | 84.5 | 15.8 | 47.3 |  | 226 | 102.7 | 19.2 | 57.5 |
| 107 | 48.6 | 9.1 | 27.2 |  | 147 | 66.8 | 12.5 | 37.4 |  | 187 | 85.0 | 15.9 | 47.6 |  | 227 | 103.2 | 19.3 | 57.8 |
| 108 | 49.1 | 9.2 | 27.5 |  | 148 | 67.3 | 12.6 | 37.7 |  | 188 | 85.5 | 16.0 | 47.9 |  | 228 | 103.6 | 19.3 | 58.0 |
| 109 | 49.5 | 9.2 | 27.7 |  | 149 | 67.7 | 12.6 | 37.9 |  | 189 | 85.9 | 16.0 | 48.1 |  | 229 | 104.1 | 19.4 | 58.3 |
| 110 | 50.0 | 9.3 | 28.0 |  | 150 | 68.2 | 12.7 | 38.2 |  | 190 | 86.4 | 16.1 | 48.4 |  | 230 | 104.5 | 19.5 | 58.5 |
| 111 | 50.5 | 9.4 | 28.3 |  | 151 | 68.6 | 12.8 | 38.4 |  | 191 | 86.8 | 16.2 | 48.6 |  | 231 | 105.0 | 19.6 | 58.8 |
| 112 | 50.9 | 9.5 | 28.5 |  | 152 | 69.1 | 12.9 | 38.7 |  | 192 | 87.3 | 16.3 | 48.9 |  | 232 | 105.5 | 19.7 | 59.1 |
| 113 | 51.4 | 9.6 | 28.8 |  | 153 | 69.5 | 13.0 | 38.9 |  | 193 | 87.7 | 16.4 | 49.1 |  | 233 | 105.9 | 19.8 | 59.3 |
| 114 | 51.8 | 9.7 | 29.0 |  | 154 | 70.0 | 13.1 | 39.2 |  | 194 | 88.2 | 16.5 | 49.4 |  | 234 | 106.4 | 19.9 | 59.6 |
| 115 | 52.3 | 9.8 | 29.3 |  | 155 | 70.5 | 13.2 | 39.5 |  | 195 | 88.6 | 16.5 | 49.6 |  | 235 | 106.8 | 19.9 | 59.8 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 236 | 107.3 | 20.0 | 60.0 |

Patient Preparation:

- NPO for 3 hours including food, tobacco, alcohol, and smoking.

- Removal of metal and objects that might attenuate in the field of view.

- No caffeine containing products for 18-24 hours. (See table below)

- No theophylline products for 48 hours. (See table below)

| Drinks Containing Caffeine |
| --- |
| Coffee | Pepsi |
| Instant coffee | Diet Pepsi |
| Decaffeinated coffee | Regular colas |
| Brewed tea | “Caffeine free” cola |
| Iced Tea | Dr. Pepper |
| Instant tea | Mr Pibb |
| Coca-Cola | Mellow Yellow |
| Diet Coke | Mountain Dew |
| Tab | Cocoa |
| Foods Containing Caffeine |
| Chocolate Candy | Chocolate coated |
| Baking chocolates | Chocolate cake |
| Chocolate pudding | Chocolate milk |
| Brownies |  |
| Prescription Drugs with Caffeine |
| Cafergot | Esgic |
| Fioricet | Fiorinal |
| Norgesic | Synalgos |
| Wigraine |  |
| Drugs Containing Theophylline |
| Aeorlate | Tedral |
| Constant – T | Theo-24 |
| Elixophylline | Theoclear |
| Primatene | Theo-dur |
| Quibron | Theolair |
| Respbid | Theo-Organidin |
| Slo-bid | Theo-Sav |
| Slo-phylline | Theostat |
| T-PHYL | TheoX |
| OTC Drugs Containing Caffeine |
| Anacin | Excedrin |
| No Doz |  |
| Drugs Containing Dipyridamole |
| Aggrenox | Persantine |

Clearance Data:

- Cardiovascular history including: Indication for the examination, medications, symptoms, cardiac risk factors, and prior diagnostic or therapeutic procedures should be reviewed by the stress physician.

- 12-lead ECG for evidence of acute ischemia, arrhythmia or conduction disturbances

- Cardio-respiratory auscultation for wheezing, rales, murmur, etc.

- Vital signs: Heart rate, blood pressure, pulse oximetry (as needed)

- Life support instruments and emergency drugs must be immediately available. In addition, an ACLS trained individual must be available to supervise procedure.

Procedure:

- Obtain informed consent (see Informed Consent Procedure Adenosine)

- An IV should have been started for injection of the rest radiopharmaceutical. If not obtain an IV using the right antecubital, connect 12” IV tubing with a “T” connector, tape IV securely, flush with 1.0 ml heparin flush.

- ECG preparation:

  - The electrode sites should be rubbed with “Nu Prep” and alcohol until the skin is erythematous to remove skin oils and a superficial layer of skin.

  - If hair is present the sites should be shaved.

  - Electrodes are attached to the skin as per the figure below. It is best, if possible to avoid placing the electrode over large muscles masses.

  - Obtain a 12 lead ECG to insure there is no baseline artifact. If baseline artifact is present, repeat skin prep described above and repeat the 12 lead ECG.

- Obtain baseline blood pressure recording

- If patient history demonstrates COPD or moderate to severe dyspnea obtain baseline pulse oximetry measurement.

- Explain procedure and possible side-effects to the patient.

- Select adenosine protocol on the ECG monitor

- Calculate the correct dose of adenosine based upon the patient’s weight.  See attached chart.

- Draw up the dose in a 60 cc syringe then dilute to 34 ml using normal saline.

- Place dose in the BAXA infusa pump. The plunger will be at the 4 minute mark on the pump.  Flow rate of pump should be “1”.

- Press the green start button. The pump will ring and flow rate 1 will flash.  You should be able to see the plunger moving, pushing the fluid.

- Press the “Start Exercise Button” on the ECG monitor

- To reduce the side affects of adenosine, ask the patient to march in place vigorously or perform low-level stress test using a Naughton protocol if the patient’s condition permits (see Stress Test Procedure). Patients with LBBB should not undergo low level exercise.

- Inject the radionuclide 2 minutes into the adenosine infusion. The infusion should not be interrupted for the radionuclide injection,

- The ECG and the presence of symptoms should be monitored continuously during the test.

- An ECG tracing and heart rate should be obtained every minute of the infusion. A blood pressure should be obtained every two minutes. The patient should be asked about symptoms every minute.

- After the completion of the infusion, press “Stop Exercise” on the ECG console

- The patient should be monitored for 5 minutes upon completion of the infusion. An ECG, heart rate and symptoms should be obtained every minute and the blood pressure should be obtained every 2 minutes.

- Continue to monitor if patient continues to have symptoms or ECG changes.

- Finalize the report to print table and trend reports.

- If necessary obtain post-imaging ECG to verify return to baseline.

Adverse Reactions:

- Flushing

- Chest discomfort

- Shortness of breath

- Headache

- Nausea

- Throat, neck or jaw discomfort

- Heart block (first, second or third degree)

Indications for Stopping Adenosine Infusion and/or Administering Aminophylline

- Severe hypotension: Systolic pressure < 80 mm Hg or 20 mm Hg fall which persists

- ST depression:  > 3 mm beyond baseline EKG without angina or > 2mm with angina

- Persistent 2nd or 3rd degree heart block

- Severe chest discomfort, dizziness, dyspnea, headache, nausea, syncope or dysrhythmia

- Wheezing

Reversal of Adenosine:

The half-life of Adenosine is less than 10 seconds. Thus the adverse effects are generally rapidly self limiting. Treatment of any prolonged adverse effect should be individualized and directed toward the specific effect.

- Stop infusion – most effects resolve within 30-60 seconds post infusion

- If symptoms persist, administer aminophylline, 125 mg, IV by slow infusion (1 minute) on physician’s direction.  Dosage may be repeated again in five minutes if there is no response to the first dose.

- Note: Aminophylline administration should be delayed for at least one minute post-radionuclide administration.

Treatment of Adverse Reactions (see above):

- Mild chest pain – stop exercise, have patient sit down, oxygen 2-4 liters/min, sublingual nitroglycerin, consider aspirin 160-325 mg

- Shortness of breath – stop exercise, have patient sit down, consider oxygen 2-4 liters/min

- Hypotension/Dizziness – stop exercise, have patient lay down, elevate feet

- Hypertension – stop exercise, have patient lay down

| Written: |  | Date: |  |
| --- | --- | --- | --- |
| Revised: |  | Date: |  |
| Reviewed: |  | Date: |  |
|  |  | Date: |  |