## Sheet1
Facility Name
Quality Improvement Study
Bone Scan Image Quality
Purpose: |  | The goal of this technical quality improvement study is to measure the percentage of bone scans with technical artifacts or poor quality that could effect the accuracy of the study.
Threshold: |  | 10%
Date of Study:
Data Collection Period
Rationale:
Bone scintigraphy is a diagnostic study used to evaluate the distribution of active bone formation in the body. There are numerous potential artifacts and sources of error associated with bone scanning that must be avoided to ensure accurate interpretation and diagnosis. Some of these sources of error include: Urine contamination, injection artifacts, patient motion, increased collimator to patient distance, imaging too soon after injection before the radiopharmaceutical has been optimally cleared from the soft tissues, prior administration of a higher energy radionuclide, limited imaging views, renal failure, etc. Clinical images must be evaluated for these and other artifacts. Any identified artifacts must be further investigated and documented.
Instructions:
1) Enter overall threshold or goal in spreadsheet and individual thresholds for each quality parameter.
2) Randomly display all images for 30 patients from the data collection date range.
3) Evaluate each image display for the parameters listed below. For example, determine is there is poor, fair, good or excellent radiopharmaceutical uptake.
3) Enter data into the spreadsheet.
4) Determine if threshold for overall quality and each individual parameter has been met
5) Conduct Quality Improvement meeting to discuss results and make plans for improvement
6) Record minutes from meeting
Data Collection
|  | Bone Uptake | Increased Background (Soft Tissue) | Resolution | Image Label | Additional Views | Artifact: Dose Infiltration | Artifact: Full Bladder | Artifact: Urine Contamin. | Artifact: Metal | Artifact: Patient Motion | Artifact: Other | Overall Quality
Measure |  | Poor, Fair, Good, Excellent | None (Insignificant), Mild, Moderate, Severe | Poor, Fair, Good, Excellent (e.g. Camera-to-Patient Distance) | Images labeled correctly and include laterality? Yes/No | Additional views acquired as needed: Yes/No (lateral skulls, oblique, etc) | None, Mild, Moderate, Severe | None, Mild, Moderate, Severe | None, Mild, Moderate, Severe | None, Mild, Moderate, Severe | None, Mild, Moderate, Severe | None, Mild, Moderate, Severe | Poor, Fair, Good, Excellent
Predicted Threshold |  | % of patients with poor or fair bone uptake | % of patients with moderate or severe soft tissue accumulation | % of patients with poor or fair resolution | % of patients incorrectly labeled | % of patients with needed views not acquired | % of patients with moderate or severe dose infiltration | % of patients with moderate or severe bladder | % of patients with moderate or severe urine contamination | % of patients with moderate or severe metal artifact | % of patients with moderate or severe patient motion | % of patients with moderate or severe other artifact | % of patients with poor or fair quality
|  | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
Study/Patient Comments
Patient | Sex
1 | [13 empty] | 1
2 | [13 empty] | 2
3 | [13 empty] | 3
4 | [13 empty] | 4
5 | [13 empty] | 5
6 | [13 empty] | 6
7 | [13 empty] | 7
8 | [13 empty] | 8
9 | [13 empty] | 9
10 | [13 empty] | 10
11 | [13 empty] | 11
12 | [13 empty] | 12
13 | [13 empty] | 13
14 | [13 empty] | 14
15 | [13 empty] | 15
16 | [13 empty] | 16
17 | [13 empty] | 17
18 | [13 empty] | 18
19 | [13 empty] | 19
20 | [13 empty] | 20
21 | [13 empty] | 21
22 | [13 empty] | 22
23 | [13 empty] | 23
24 | [13 empty] | 24
25 | [13 empty] | 25
26 | [13 empty] | 26
27 | [13 empty] | 27
28 | [13 empty] | 28
29 | [13 empty] | 29
30 | [13 empty] | 30
Results
|  | Bone Uptake | Increased Background (Soft Tissue) | Resolution | Image Label | Additional Views | Artifact: Dose Infiltration | Artifact: Full Bladder | Artifact: Urine Contamin | Artifact: Metal | Artifact: Patient Motion | Artifact: Other | Overall Quality
| # moderate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| # Severe | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Count | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
% Low Quality |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!