XXXXXX Facility

Ergonomics Policy

| Policy description: Ergonomics | Effective date: 01/01/11 |
| --- | --- |
| Approved by: Dr. M. Director | Policy number: 001 |
| Reference: Industry standards for the Prevention of Work-Related Musculoskeletal Disorders in Sonography |  |

PURPOSE:

High Quality Echocardiography Facility establishes and follows the guidelines for addressing ergonomic risk factors in the workplace and reducing the incidence of work-related musculoskeletal disorder (WRMSD) injuries experienced by employees, contracted individuals or students. The purpose of this policy is to:

- Reduce the risk of work-related musculoskeletal disorders (WRMSD).

- Provide early intervention when a musculoskeletal disorder has been reported.

- Enhance employee productivity, quality and comfort in the workplace.

POLICY:

The risk factors associated with work-related musculoskeletal disorders shall be identified and control solutions implemented by the application of equipment, administrative and professional control measures.

Employee responsibilities:

- Report ergonomic concerns, and/or signs and symptoms of WRMSDs to your supervisor.

- Report work-related injuries to your supervisor and file an Employee Incident Report.

- Participate in identifying ergonomic risk factors and corrective actions.

- Follow recommended work practices, procedures and training guidelines specific to your tasks and environment.

- Use equipment appropriately and for the purpose intended as provided by the employer.

- Use equipment provided as a means of reducing WRMSDs.

Supervisor responsibilities:

- Encourage employees’ to report signs and symptoms of work-related musculoskeletal disorders.

- Respond to employees’ reports of ergonomic-related concerns/injuries in a timely manner.

- Encourage injured employees to complete an Employee Incident Report and visit Employee Occupational Health Service for medical evaluation and care.

- Encourage employees to participate in identifying jobs and tasks with ergonomic risk factors and assist in implementing corrective actions.

- Identify ergonomic risk factors in the workplace and ensure implementation of corrective actions to reduce these risks.

- Determine root causes of incidents, conduct worksite assessments, suggest potential control solutions in cooperation with Occupational Safety/Ergonomics professionals and provide sufficient resources to implement ergonomic recommendations in a timely manner.

- Ensure employees receive ergonomic education and training.

- Encourage and support a safe environment, including the use of proper equipment and work practices.

- Review and analyze trends in frequency and severity of ergonomic-related injuries.

DEFINITIONS:

Ergonomics: A body of knowledge about human abilities, human limitations and human characteristics that are relevant to design. Ergonomic design is the application of this body of knowledge to the design of tools, machines, systems, tasks, jobs and environments for safe, comfortable and effective human use.

Work-Related Musculoskeletal Disorder (WRMSD): A range of conditions caused by repetitive, forceful or awkward movements that cause injury to muscles, tendons, ligaments, nerves and joints. Examples of WRMSDs include: Carpal Tunnel Syndrome, Epicondylitis, Synovitis, Muscle Strains, Raynaud’s Syndrome, Sciatica, Tendonitis, DeQuervains Disease, Trigger Finger, Low Back Pain and Carpet Layers Knee.

CONTROL MEASURES (adapted from the SDMS Consensus Document – see references):

The following controls are recommended to reduce the risk of musculoskeletal injury for sonographers:

- Equipment Control Measures

  - Ultrasound Systems

State-of-the-art equipment allows for optimal visualization which increases diagnostic accuracy and reduces sonographer fatigue. These industry standards are specific to floor-standing models. Therefore, some recommendations may not apply to non-floor-standing models.

- Fully adjustable equipment that suits the anthropometrics of the 5th to 95th percentile of the population and is specific to the demographic area of the users.

- Easily accessible controls for achieving two-wheel, four-wheel, and braked positions. Central locking is preferable.

- Recording devices positioned to minimize the user’s reach to external devices; external devices should not interfere with adjustability of the system.

- Footrest on the equipment designed to encourage neutral position of the ankle.

- Transducer holder incorporates ease of access (unobstructed); should not be detrimental to the distance required to access controls; low force, minimal effort required for single-handed use.

- Cables should not interfere with access to equipment or system interaction.

- Port Connector permits ease of use, single-handed use, minimizing the user’s reach, force, and necessity of a pinch grip; does not interfere with access to equipment or system interaction.

- System design such that transporting the equipment does not exceed 50 pounds of force for pushing or pulling by a single user on usual flooring surfaces. Otherwise, it is required that additional personnel are available to assist in moving the equipment.

- Height-adjustable handles suitable for transporting the equipment.

  - Control Panel

- Height-adjustable, separate from the monitor with appropriate degree of tilt to allow for standing or seated user to achieve neutral posture of wrist and forearm. Independent movement of control panel allows users to work while maintaining their elbow at their side.

- Optimized control layout to allow use by both right and left-handed users.

- Size, shape and spacing of controls designed according to occupational ergonomic guidelines. Font size and control layout are visually discernable, according to occupational ergonomic guidelines. The range of illumination permits clear identification of control functions at applicable user positions.

- Entire system designed to be used in seated position without obstruction of legs/knees.

  - Monitors

- Incorporate features to minimize eye strain, such as:

  - Reduced flicker

  - Appropriate brightness and contrast levels

  - Resolution

  - Visual contrast

- Height-adjustable, separate from the control panel with appropriate degree of tilt to enable standing or seated users to achieve neutral posture of their necks.

- Single-handed movement of the monitor allows users to work while maintaining their neck in a forward, neutral position at a range of 18 - 30 inches.

- System must support the ability to use an external monitor. See G. Accessories.

  - Transducers

- Lightweight and balanced to minimize torque on the wrist, facilitate a palmar grip without an expanded stretch of the hand, and encourage a neutral wrist position.

- Sized to support appropriate anthropometric data for the majority of users, encourage a palmar grip, and slip resistant.

- Cables and cable management systems must be suitable in length to permit unrestricted use; and be of suitable length for intended applications.

  - Table
Industry standards #1-5 are considered essential when new or replacement tables are being purchased.

- Height-adjustable, capable of being adjusted while the patient is on the table, to positions low enough to allow patients to get on and off easily unassisted, and to allow user to scan in a sitting or standing position while maintaining arm abduction of less than 30 degrees.

- Maneuverable, full wheel mobility and wheel locks that are easily operated.

- Open access from all sides to allow the users to place their knees and feet underneath, if needed. Table support structure and/or table mechanisms should not extend beyond the table top such that it prevents the user from minimizing reach and arm abduction.

- For cardiac imaging, an easily operated, drop away or cut out section to allow unhindered access to the apical region while allowing the user’s wrist to remain supported and in a neutral position.

- Ideally, electronic controls that is accessible and easy to use.

  - Chair

- Height-adjustable with sufficient range to suit the majority of the users. Range of height adjustability optimizes positioning of less than 30 degrees abduction of the scanning arm and allows the forearm of the non-scanning arm to be approximately parallel to the floor.

- Adjustable lumbar support, adjustable seat for thigh support, and an adjustable footrest. Seat design must encourage an upright posture.

- Swivels to allow the user to rotate from the patient to the ultrasound system while maintaining an aligned posture.

- Casters suitable to the type of flooring.

  - Accessories

- Gel bottles should have large openings to reduce the strength needed to squeeze the bottle and of suitable diameter to avoid extended grip position.

- Support devices available to all users for arm support in abduction.

- A transducer cable support device to allow users to reduce their grip by reducing the amount of torque on the wrist/forearm. Properly fitting textured exam gloves to reduce the force required to grip the transducer.

- Administrative Control Measures

  - Employer

- Provide annual education to all users on the risk and prevention of musculoskeletal disorders.

- Perform risk assessments in consultation with the users on a regular basis to identify musculoskeletal disorders and formulate and implement controls for the prevention and/or reduction of these disorders.

- Provide a system to report and document acute or chronic musculoskeletal disorders.

- Conduct risk assessments prior to the purchase of equipment.

- Maintain all equipment in good working order.

  - Workload and Scheduling

    - Sufficient time must be allotted for each study according to the procedure type. The performance time allotted for a complete (imaging and Doppler) transthoracic examination is 45 to 60 minutes from patient encounter to departure. An additional 15 to 30 minutes may be required for complicated studies.

    - Provide adequate rest breaks between examinations particularly for procedures comprised of similar postural and muscular force attributes.

    - Encourage task rotation in the workplace as much as possible.

    - Establish maximum transducer time per hour. (Research to determine maximum safe transducer time is encouraged.)

    - Minimize portable/bedside examinations. Share the necessary bedside examinations equally among the technical staff to reduce risk of injury on a daily basis.

  - Examination Area

    - Dedicated examination area provides adequate space (approximately 150 square feet) for the maneuverability of equipment around the exam table and allows easy access from all sides.

    - Examination room doorway allows easy access for all wheelchairs, beds and ultrasound equipment.

    - Suitable flooring to allow easy movement of equipment.

    - Adequate ventilation and temperature control to ensure the comfort of user and patient while enabling the equipment to operate at a functional temperature.

    - Adjustable room lighting with easily accessible dimmer controls; shaded windows to eliminate light.

  - Education and Training

    - Participate in education and training to reduce the risk of developing musculoskeletal disorders:

      - Attend employer sponsored in-services

      - Attend seminars, lectures, workshops or conferences offered by professional organizations or manufacturers

      - Access journals, textbooks, online resources, etc.

      - Attend a formal sonography program that includes WRMSD prevention in the curriculum

REFERENCES

- Industry Standards for the Prevention of Work-Related Musculoskeletal Disorders in Sonography. JDMS 2003; 19: 283-286. www.sdms.org/pdf/wrmsd2003.pdf

- Society of Diagnostic Medical Sonography Workzone. www.sdms.org

- For information on Occupational Health and Safety Concerns: National Institute for Occupational Safety and Health (NIOSH) www.cdc.gov/niosh/homepage.html

- The IAC Standards for Echocardiography Accreditation; Part I , Section 2, 2.1, 2.1.1, A. Part II, Section 2.2.3