# Adult Echocardiography
Protocol for Adult TTE

PROCEDURES AND PROTOCOL

- Getting Started

  - Check for previous studies and review key elements.

  - Optimize instrument settings prior to starting study.

  - Verify indication for exam.

  - Review order and understand physician’s request.

- Procedure Preparation

  - Review the order for type of study to be performed. A verbal order may be used for stat echocardiography and written order will be obtained as soon as possible.

  - Enter patient information into ultrasound system (from pick list or manually).

  - Enter demographics, height, weight, BP, sonographer’s name, all other information as needed.

- Patient Preparation

  - Explain procedure to patient.

  - Verify patient ID.

  - Instruct patient to lie on left side.

  - Apply electrodes and attach leads.

- Digital Capture

  - Make sure that you have adequate ECG signal.

  - Patients in sinus rhythm, 2 beat captures are used.

  - Patients in Afib or any irregular rhythm, 3-5 beat captures should be used as needed.

  - When capturing a bubble contrast study use 5-10 second loops.

If images are suboptimal (when two or more LV segments cannot be visualized adequately for the assessment of LV function and regional wall motion assessment, and/or in settings in which the study indication requires accurate analysis of regional wall motion.) consider use of an ultrasound enhancing agent.

Basic Exam (note: obtain a 2D image of the view first, followed by color/spectral Doppler in order to provide anatomic orientation). In general, spectral Doppler and M-mode should be captured at a sweep speed of 50 mm/s speed. Use 25-50 mm/s speed to demonstrate respirophasic changes that require documentation of changes across several cardiac cycles and 100 mm/s speed when making timing measurements.

Optimization of Doppler signals.  Doppler display occupies about 2/3 of scale for each velocity.

Pay particular attention to:

- Narrow aiming sector to optimize color and frame rate.

- If 2D imaging is poor (esp. in apical views) or two or more LV segments are unable to be assessed, ultrasound enhancing agents may be considered to enhance the image.

- Proper setting of the scale, gain, filter, compress and reject with CW & PW Doppler.

- Look at extracardiac structures.

- Use off-axis images when necessary.

IMAGING PROTOCOL

- Parasternal Long-Axis View

  - Rule out pericardial/pleural effusion and assess extracardiac structures by increasing and decreasing depth. Capture 2D view. Zoom aortic and mitral valve and capture a 2D view.

  - Measure LV septal thickness, LV end-diastolic dimension and posterior wall thickness in end-diastole at the level of the mitral valve chordae.

  - Measure LV end-systolic dimension in end systole at the level of the mitral valve chordae.

  - Measure aorta at the level of the sinuses of Valsalva. The additional measurements of the diameters of aortic annulus, sino-tubular junction and mid ascending aorta are needed when abnormal aorta is suspected.  A separate ascending aorta image may be required.

  - Measure the LA dimension in end-systole.

  - Perform color Doppler of AV/MV/Ventricular septum (requires separate captures). AV and MV with zoom and color Doppler as needed.

- RV Outflow Tract View

  - Capture 2D image

  - Perform color Doppler of the PV

  - PW RVOT

  - CW PV

- RV Inflow View

  - Capture 2D image.

  - Perform color Doppler of TV for TR.

  - Measure peak TR velocity for calculation of RA/RV pressure gradient.

- Parasternal Short-Axis View (Aortic Level)

  - Capture 2D image at the level of the AV (imaging AV, TV, PV, and LA), examine AV, PV and TV leaflets, structures with 2D, PW, CW, and color Doppler.

  - Aortic valve level:

    - 2D image.

    - Zoom aortic valve.

    - Perform color Doppler on the AV.

    - Perform color Doppler on the PV and PA.

    - Perform PW and CW Doppler across the PV.

    - Perform CW Doppler to obtain TR velocity to calculate PASP if TR is present.

- Parasternal Short-Axis (Left ventricle)

  - Capture 2D LV at basal, middle (papillary muscle) and apex levels.

  - Zoom the LV at the MV leaflet level and perform color Doppler in the presence of MV disease as needed.

- Apical 4-Chamber View

  - Capture 2D image to examine the structure and wall motion; avoid foreshortening of the LV. Use a narrow 2D sector and/or zoom to improve image quality to assess LV wall motion and look for a thrombus. Adjust depth, focal point, probe setting (frequency) and gains to optimize images.

  - Obtain a 2D image focused on the RV. Adjust transducer placement to ensure RV apex and free wall anatomy are the focus of the image. Use a narrow 2D sector and/or zoom to improve image quality as needed. Adjust depth, focal point, probe setting (frequency) and gains to optimize images.

  - Perform color Doppler of MV, TV and AV.

  - Perform PW Doppler of the MV with the sample volume at the leaflet tips, measure E/A waves velocities.

  - Perform tissue Doppler of lateral and septal mitral annulus to measure E’, for E/E’ ratio as needed.

  - Perform Color M-mode Doppler as needed.

  - Perform CW of MV, TV.

  - LV volumes are measured in diastole and systole to obtain an ejection fraction.  During tracing, pay particular attention to: apical foreshortening; including (not excluding) papillary muscle in tracing; apical alignment; mitral annulus.  If calculated EF is significantly discordant with visual estimate, review, acquire and measure additional cardiac cycles.

  - Each of the above measurements will be frozen and then acquired.

  - Measure LA and RA areas as needed.

  - Perform PW Doppler of pulmonary veins (sample volume 3-4 mm) as needed.

- Apical 5-Chamber View

  - Capture 2D image.

  - Perform Color Doppler, PW, and CW Doppler of LVOT; pay attention to the position of PW sample volume.

- Apical 2-Chamber View

  - Capture 2D image, take care not to foreshorten the image.

  - Perform color Doppler of the MV.

  - Perform LA area and volume as needed.

- Apical 3-Chamber View (Apical Long-Axis View)

  - Capture 2D image, take care not to foreshorten the image.

  - Perform color Doppler of the MV and the AV.

  - Perform PW/CW of LVOT/AV (in presence or suspicion of aortic stenosis or calcification or LVOT obstruction).  Pay attention to the position of PW sample volume.

- Subcostal View

  - Capture 2D image.

  - Perform color Doppler of the MV and TV and IAS and IVS to look for a shunt.

  - Perform CW for the TR velocity to calculate pressure gradient as needed.

  - Capture 2D of the IVC and observe for collapse (set for 3–5 seconds to appropriately capture).  Be sure to include inspiration/expiration and “sniff” if needed.

  - Perform color Doppler of HV/IVC.

  - Perform PW Doppler of the HV/IVC flow.

  - Capture 2D subcostal short-axis view as needed (if parasternal view is not optimal).

- Suprasternal View

  - Capture 2D image of aortic arch.

  - Perform color Doppler, PW and CW Doppler as needed.

- Right Parasternal View

  - Capture 2D image of the ascending aorta as needed, especially if aortic dissection & aneurysm are suspected.

  - Perform color Doppler and CW Doppler as needed for aortic stenosis.

Additional off-axis 2D image/color Doppler imaging may be performed as needed to supplement standard views (eccentric mitral regurgitation, congenital heart disease, etc.).

SPECIAL CONDITIONS

Aortic Stenosis or Suspected Aortic Stenosis

  - Measure LVOT at the parasternal long-axis view.

  - “Zoom” on LVOT; adjust focal point and gain, to optimize measurement of LVOT diameter.

  - In the apical 5-chamber view, obtain PW aortic outflow with appropriate position of PW sample volume, trace the best wave form.

  - In the apical 5-chamber view, obtain CW of aortic outflow and trace the best wave forms.

  - In the apical long-axis view, perform PW and CW of aortic flow.

  - Dedicated non-imaging CW Doppler in multiple locations, at the Apex, Suprasternal Notch and Right Parasternal Border (may need to reposition patient onto right side) to obtain maximal velocity.

  - Trace the best Doppler wave form for calculation of aortic valve area using Continuity Equation. Three or more beats should be average for patients in sinus rhythm. At least 5 consecutive beats are averaged for patients with irregular rhythms. Special care must be taken to select representative sequences of beats and to avoid post-extrasystolic beats.

  - Pay attention to the size of LVOT, PW LVOT flow, ascending aorta, and arch.

  - Obtain zoom and optimized view of the valve in the parasternal short axis view.