- PURPOSE:

To establish a protocol for scanning a fetal echocardiogram.

- DOCUMENTATION OF FETAL STUDY DATA:

- gravidity, parity, fetal gender (when available)

- referral diagnosis/indications, pertinent medical history, referring doctor

- estimated due date/ gestational age

- number of fetuses

- DEPARTMENT PROCESS:

  - Practice universal precautions

  - Explain procedure and educate patient on signs and symptoms of positional discomfort

  - Select appropriate transducer and console settings

  - Determine the presence of single or multiple gestations

  - Demonstration of fetal lie and position defining fetal orientation

  - Establish fetal cardiac position and abdominal situs

  - Imaging of pericardial space, abdomen, and skin to evaluate effusion/ascites

  - Biometric examination (cardiothoracic ratio, biparietal diameter and femur length)

  - Measurement of cardiac axis when indicated

IV	VIEWS:

Imaging 2D Views to include:

- Four-chamber view

- Left ventricular outflow tract

- Right ventricular outflow tract

- Three-vessel and trachea view

- Short-axis views

- Long-axis view

- Aortic arch view

- Ductal arch view

- Caval long-axis view

Segmental Analysis to include:

- Continuous sweep to demonstrate the relationship of the great arteries, ventricular connections, and position relative to the trachea.

- Determination of systemic and pulmonary venous connections, atrial anatomy (including septum and coronary sinus).

- Determine ventricular position, atrial connections, ventricular anatomy (including septum).

- Multiple views of the ascending, descending, transverse aortic arch and ductal arch with spectral Doppler/color flow Doppler and 2D measurements, as appropriate.

Measurements to include:

- mitral, tricuspid, aortic and pulmonary valves/annular dimensions

- left ventricular geometry and function, right ventricular geometry, and function

- ascending aorta, main pulmonary artery when indicated

- transverse aortic arch, aortic isthmus, descending aorta when indicated

- proximal branch pulmonary arteries

Color and Spectral Doppler to include:

- Semilunar and atrioventricular valves to assess for blood flow, valvular regurgitation

- Cardiac vessels for patency and flow direction (aorta, main pulmonary artery, proximal branch pulmonary arteries)

- Ductus arteriosus

- Left and right ventricular inflow and outflow tracts

- Systemic veins (ductus venosus)

- Umbilical Vasculature (short and long axis)

- Pulmonary vein flow

- Foramen ovale, Atrial and Ventricular septa

- Superior and inferior vena cavae

- Middle cerebral artery

Examination of Rhythm and Rate:

- Assessment of heart rate and rhythm using M-Mode/spectral Doppler techniques.

- Assessment of atrioventricular conduction and mechanical PR interval obtained from simultaneous spectral Doppler of mitral valve inflow and aortic outflow

- Simultaneous M-Mode assessment of atrial and ventricular wall motion to determine atrioventricular conduction when indicated

- Use of standard cardiac probe with continuous wave Doppler when indicated

IV	DOCUMENTATION:

  - Documentation and measurements will be recorded into the digital echocardiogram reporting system

  - Interpretation by Cardiologist will be done and signed report will be placed in patient’s medical record