# XXXX Practice

Dental CT Patient and Radiation Safety Policy

EFFECTIVE DATE: April 4, 2017

PURPOSE: To establish and maintain safety for CT imaging at our practice.

PROCEDURE:

- The CT examinations are performed by technical staff members that are [board certified dentists or physicians that have completed four hours of CT unit specific training and three hours of radiation safety training] and/or [state licensed dental hygienists or dental assistants (for states that require dental hygienist/assistant licensure)  that have completed four hours of CT unit specific training and three hours of radiation safety training] and/or [dental hygienists or dental assistants with national certification (e.g. DANB, CDA, COA) and certification of training and education from an accredited educational program (for states that do not require dental hygienist/assistant licensure) that have completed four hours of CT unit specific training and three hours of radiation safety training] and/or [A.R.R.T. / C.A.R.R.T. registered radiologic technologists] and have a thorough understanding of CT radiation dose to be able to advise patients prior to their CT examinations.

- A shielded control area is available during the scan and is only accessible to appropriate staff members.

- Staff involved with CT imaging will be issued radiation monitoring devices (badges). The badge readings will be reviewed by the Quality Improvement (QI) Committee and the results will be made available to the staff. Any readings that are deemed excessive will be addressed by the staff member.

- Public access to the CT suite is restricted. Signs are posted warning the public of the radiation area.

- Pediatric specific imaging protocols that have been established based on patient age and/or weight will be utilized whenever possible and kept on file.

- Dose reduction (optimization) techniques will be utilized whenever possible and all staff will comply with published ALARA recommendations. The radiation dose will be set at the lowest values possible while still maintaining excellent image quality.

- A CPR certified staff member is always on site when CT examinations are performed.

- All patients are identified via two different forms of identification to ensure that the correct patient is imaged.

- All incidents (adverse events) that occur to patients, staff members, or visitors are documented and reviewed.

All policies are reviewed and updated annually by the members of our QI team.

| Written by: |  | Date: |  |
| --- | --- | --- | --- |
| Revised by: |  | Date: |  |
| Reviewed by: |  | Date: |  |
| Reviewed by: |  | Date: |  |