Sample Protocol for Performing 
Lower Extremity Duplex Examinations for DVT

Purpose: Peripheral venous duplex examinations are performed to assess the deep and superficial venous system for patency and pathology.

INDICATIONS:

Common indications:

- Swelling

- Pain

- Pulmonary Embolus

- Palpable Cord

CONTRAINDICATIONS:

- Patients with casts, bandages

- Patients who are unable to lie flat

- Patients who are unable to cooperate due to mental status changes or involuntary movements

- Patients with severe edema

EQUIPMENT:

- Duplex ultrasound with color flow Doppler with transducer frequencies ranging from 4 -9 MHz

PATIENT PREPARATION:

- Introduce yourself to patient

- Verify patient identity according to hospital procedure

- Explain the test

- Obtain patient history including symptoms

- Place the patient in a reverse trendelenburg position

GENERAL GUIDELINES:

- A complete examination includes evaluation of the entire course of the accessible portions of each vein

- Bilateral testing will be performed unless the patient has unilateral symptoms

- Limited examinations for recurring indications may be performed as noted

- Variations in technique and documentation for assessment of peripheral vascular interventions (i.e., sites of stents and/or dialysis access), must be described.

TECHNIQUE:

- Equipment gain and display settings will be optimized while imaging vessels with respect to depth, dynamic range and focal zones

- Spectral Doppler waveform assessment will be done in long axis and will be displayed below the baseline

- Spectral Doppler waveform will be assessed for spontaneity, phasicity and augmentation

- Transverse grayscale imaging will be performed with and without transducer compressions

- The entire length of the veins will be evaluated

DOCUMENTATION:

- Transverse grayscale images with and without compression must be obtained from:

  - Common femoral vein

  - Saphenofemoral junction

  - Proximal femoral vein

  - Mid femoral vein

  - Distal femoral vein

  - Popliteal vein

  - Posterior tibial veins

  - Peroneal veins

  - When indicated common and external iliac veins, great and small saphenous, inferior vena cava (IVC), proximal deep femoral vein, deep calf veins and perforating veins.

- Spectral Doppler waveforms must be documented from:

  - Right and left common femoral veins

  - Popliteal vein

  - If unilateral testing is performed, spectral Doppler waveforms must be obtained from right and left common femoral veins.

PROCESSING:

- Review examination data and process for final interpretation

- Note study limitations